First: Create a Dir. on C: this must be “C:\VB\My documents”

Copy the files in the Zipfile to the harddisk

Make sure Excel is installed on the computer.

Open PC-DMIS; open a program with measured data.

Then open the “Excelprogram.exe”

Fill out al the fields and push Create.

PC-DMIS will start to measure the part.

When there is a problem contact me at: robin_peeters@hotmail.com

Have fun with this program.

Robin.